EMERGENCY PROCEDURE FOR EYE

EXPOSURE TO CLASS 3B OR 4 LASER

Add local details and keep with relevant equipment for use in an emergency

For serious eye injuries Contact Medway Campus Security on 01634 883333 [add details of the local first aider in the work area, if any] State name of casualty, exact location (Faculty/Directorate, Building and Room no) and nature of accident/injury Request an ambulance to go to the Accident and Emergency Department at Maidstone Hospital where there is a specialist eye injuries service

Take the information below to the Hospital with the casualty

For minor eye injuries Go to Maidstone Hospital as soon as possible and within 24 hours of the exposure. Do not drive yourself. Get a friend to take you or a taxi (refundable). Download travel details and maps at http://www.mtw.nhs.uk/how-to-get-here/ Take the information below to the Hospital and ask for referral to their specialist eye injuries service.

REPORT ACCIDENT to University Health & Safety Unit Ext 9001, safetyunit@gre.ac.uk, Complete the online accident report form (available via the portal)

The University Laser Safety Adviser and Faculty/Directorate/Office Laser Safety Supervisor must carry out a detailed investigation of the accident/injury.

| Information for Hospital’s Emergency Ophthalmic Examination for Laser Exposure |  |
| --- | --- |
| LASER DETAILS: Add details and keep with the relevant laser equipment for use in an emergency |  |
| i. Type of laser: | ………………………………….. |
| ii. Wavelength: | …………………………………nm |
| ii. Power Output (CW): | …………………………………. |
| or Pulse Energy, Duration, and Rate (pulsed): | …………………………………. |
| iv. Laser Classification: | …………………………………. |
| EXPOSURE DETAILS: Add details and take to the hospital with the casualty |  |
| Name of casualty | Faculty/Directorate/Office |
| i. Circumstances of accident/injury: | …………………………………… |
| ii. Time/Date of Injury | …………………………………… |
| iii. Eye affected: | Left/Right/Both* delete as appropriate |
| iv. Was protective eyewear being worn? | Yes/No* delete as appropriate |